## Mapa Factory IO
Mapa de endereços — Factory I/O ↔ Sysmac / NX1P2 via Modbus TCP
| Coils 0–109 | atuadores digitais: ligar cada atuador do Factory I/O ao Coil indicado
| Inputs 0–109 | sensores/botões digitais: ligar cada sensor do Factory I/O ao Input indicado
Resumo rápido | Holding Reg 0–19 | analógicas que o PLC escreve: displays, counters, conveyors analógicos, alarm displays
| Input Reg 0–19 | analógicas que o PLC lê: Vision Sensors em modo All Numerical/ID
Grupo | Tipo no Factory I/O | Nº | Ponto no Factory I/O | Variável Sysmac | Tipo Sysmac | Endereço Sysmac | Array Sysmac | Índice Array | Função Modbus | Sentido | Onde meter no Factory I/O | Observações
DIGITAL OUTPUTS | Coil | 0 | Coil 0 | FO_Light_Green | BOOL | %W0.00 | out_Dig | out_Dig[0] | Fn15_WriteMultipleCoils | PLC → Factory I/O | Atuadores digitais / BOOL
DIGITAL OUTPUTS | Coil | 1 | Coil 1 | FO_Light_Yellow | BOOL | %W0.01 | out_Dig | out_Dig[1] | Fn15_WriteMultipleCoils | PLC → Factory I/O | Atuadores digitais / BOOL
DIGITAL OUTPUTS | Coil | 2 | Coil 2 | FO_Light_Red | BOOL | %W0.02 | out_Dig | out_Dig[2] | Fn15_WriteMultipleCoils | PLC → Factory I/O | Atuadores digitais / BOOL
DIGITAL OUTPUTS | Coil | 3 | Coil 3 | FO_StackLight_Red | BOOL | %W0.03 | out_Dig | out_Dig[3] | Fn15_WriteMultipleCoils | PLC → Factory I/O | Atuadores digitais / BOOL
DIGITAL OUTPUTS | Coil | 4 | Coil 4 | FO_StackLight_Green | BOOL | %W0.04 | out_Dig | out_Dig[4] | Fn15_WriteMultipleCoils | PLC → Factory I/O | Atuadores digitais / BOOL
DIGITAL OUTPUTS | Coil | 5 | Coil 5 | FO_StackLight_Yellow | BOOL | %W0.05 | out_Dig | out_Dig[5] | Fn15_WriteMultipleCoils | PLC → Factory I/O | Atuadores digitais / BOOL
DIGITAL OUTPUTS | Coil | 6 | Coil 6 | FO_Sirene | BOOL | %W0.06 | out_Dig | out_Dig[6] | Fn15_WriteMultipleCoils | PLC → Factory I/O | Atuadores digitais / BOOL
DIGITAL OUTPUTS | Coil | 7 | Coil 7 | FO_GreenBases_Emitter | BOOL | %W0.07 | out_Dig | out_Dig[7] | Fn15_WriteMultipleCoils | PLC → Factory I/O | Atuadores digitais / BOOL
DIGITAL OUTPUTS | Coil | 8 | Coil 8 | FO_GreenBases_EntryConveyor | BOOL | %W0.08 | out_Dig | out_Dig[8] | Fn15_WriteMultipleCoils | PLC → Factory I/O | Atuadores digitais / BOOL
DIGITAL OUTPUTS | Coil | 9 | Coil 9 | FO_GreenBases_ExitConveyor | BOOL | %W0.09 | out_Dig | out_Dig[9] | Fn15_WriteMultipleCoils | PLC → Factory I/O | Atuadores digitais / BOOL
DIGITAL OUTPUTS | Coil | 10 | Coil 10 | FO_GreenBases_Center_Start | BOOL | %W0.10 | out_Dig | out_Dig[10] | Fn15_WriteMultipleCoils | PLC → Factory I/O | Atuadores digitais / BOOL
DIGITAL OUTPUTS | Coil | 11 | Coil 11 | FO_GreenBases_Center_Stop | BOOL | %W0.11 | out_Dig | out_Dig[11] | Fn15_WriteMultipleCoils | PLC → Factory I/O | Atuadores digitais / BOOL
DIGITAL OUTPUTS | Coil | 12 | Coil 12 | FO_GreenBases_Center_Reset | BOOL | %W0.12 | out_Dig | out_Dig[12] | Fn15_WriteMultipleCoils | PLC → Factory I/O | Atuadores digitais / BOOL
DIGITAL OUTPUTS | Coil | 13 | Coil 13 | FO_Warning_Light_GreenBases | BOOL | %W0.13 | out_Dig | out_Dig[13] | Fn15_WriteMultipleCoils | PLC → Factory I/O | Atuadores digitais / BOOL
DIGITAL OUTPUTS | Coil | 14 | Coil 14 | FO_GreenLids_Emitter | BOOL | %W0.14 | out_Dig | out_Dig[14] | Fn15_WriteMultipleCoils | PLC → Factory I/O | Atuadores digitais / BOOL
DIGITAL OUTPUTS | Coil | 15 | Coil 15 | FO_GreenLids_EntryConveyor | BOOL | %W0.15 | out_Dig | out_Dig[15] | Fn15_WriteMultipleCoils | PLC → Factory I/O | Atuadores digitais / BOOL
DIGITAL OUTPUTS | Coil | 16 | Coil 16 | FO_GreenLids_ExitConveyor | BOOL | %W1.00 | out_Dig | out_Dig[16] | Fn15_WriteMultipleCoils | PLC → Factory I/O | Atuadores digitais / BOOL
DIGITAL OUTPUTS | Coil | 17 | Coil 17 | FO_GreenLids_Center_Start | BOOL | %W1.01 | out_Dig | out_Dig[17] | Fn15_WriteMultipleCoils | PLC → Factory I/O | Atuadores digitais / BOOL
DIGITAL OUTPUTS | Coil | 18 | Coil 18 | FO_GreenLids_Center_Stop | BOOL | %W1.02 | out_Dig | out_Dig[18] | Fn15_WriteMultipleCoils | PLC → Factory I/O | Atuadores digitais / BOOL
DIGITAL OUTPUTS | Coil | 19 | Coil 19 | FO_GreenLids_Center_Reset | BOOL | %W1.03 | out_Dig | out_Dig[19] | Fn15_WriteMultipleCoils | PLC → Factory I/O | Atuadores digitais / BOOL
DIGITAL OUTPUTS | Coil | 20 | Coil 20 | FO_Warning_Light_GreenLids | BOOL | %W1.04 | out_Dig | out_Dig[20] | Fn15_WriteMultipleCoils | PLC → Factory I/O | Atuadores digitais / BOOL
DIGITAL OUTPUTS | Coil | 21 | Coil 21 | FO_BlueBases_Emitter | BOOL | %W1.05 | out_Dig | out_Dig[21] | Fn15_WriteMultipleCoils | PLC → Factory I/O | Atuadores digitais / BOOL
DIGITAL OUTPUTS | Coil | 22 | Coil 22 | FO_BlueBases_EntryConveyor | BOOL | %W1.06 | out_Dig | out_Dig[22] | Fn15_WriteMultipleCoils | PLC → Factory I/O | Atuadores digitais / BOOL
DIGITAL OUTPUTS | Coil | 23 | Coil 23 | FO_BlueBases_ExitConveyor | BOOL | %W1.07 | out_Dig | out_Dig[23] | Fn15_WriteMultipleCoils | PLC → Factory I/O | Atuadores digitais / BOOL
DIGITAL OUTPUTS | Coil | 24 | Coil 24 | FO_BlueBases_Center_Start | BOOL | %W1.08 | out_Dig | out_Dig[24] | Fn15_WriteMultipleCoils | PLC → Factory I/O | Atuadores digitais / BOOL
DIGITAL OUTPUTS | Coil | 25 | Coil 25 | FO_BlueBases_Center_Stop | BOOL | %W1.09 | out_Dig | out_Dig[25] | Fn15_WriteMultipleCoils | PLC → Factory I/O | Atuadores digitais / BOOL
DIGITAL OUTPUTS | Coil | 26 | Coil 26 | FO_BlueBases_Center_Reset | BOOL | %W1.10 | out_Dig | out_Dig[26] | Fn15_WriteMultipleCoils | PLC → Factory I/O | Atuadores digitais / BOOL
DIGITAL OUTPUTS | Coil | 27 | Coil 27 | FO_Warning_Light_BlueBases | BOOL | %W1.11 | out_Dig | out_Dig[27] | Fn15_WriteMultipleCoils | PLC → Factory I/O | Atuadores digitais / BOOL
DIGITAL OUTPUTS | Coil | 28 | Coil 28 | FO_BlueLids_Emitter | BOOL | %W1.12 | out_Dig | out_Dig[28] | Fn15_WriteMultipleCoils | PLC → Factory I/O | Atuadores digitais / BOOL
DIGITAL OUTPUTS | Coil | 29 | Coil 29 | FO_BlueLids_EntryConveyor | BOOL | %W1.13 | out_Dig | out_Dig[29] | Fn15_WriteMultipleCoils | PLC → Factory I/O | Atuadores digitais / BOOL
DIGITAL OUTPUTS | Coil | 30 | Coil 30 | FO_BlueLids_ExitConveyor | BOOL | %W1.14 | out_Dig | out_Dig[30] | Fn15_WriteMultipleCoils | PLC → Factory I/O | Atuadores digitais / BOOL
DIGITAL OUTPUTS | Coil | 31 | Coil 31 | FO_BlueLids_Center_Start | BOOL | %W1.15 | out_Dig | out_Dig[31] | Fn15_WriteMultipleCoils | PLC → Factory I/O | Atuadores digitais / BOOL
DIGITAL OUTPUTS | Coil | 32 | Coil 32 | FO_BlueLids_Center_Stop | BOOL | %W2.00 | out_Dig | out_Dig[32] | Fn15_WriteMultipleCoils | PLC → Factory I/O | Atuadores digitais / BOOL
DIGITAL OUTPUTS | Coil | 33 | Coil 33 | FO_BlueLids_Center_Reset | BOOL | %W2.01 | out_Dig | out_Dig[33] | Fn15_WriteMultipleCoils | PLC → Factory I/O | Atuadores digitais / BOOL
DIGITAL OUTPUTS | Coil | 34 | Coil 34 | FO_Warning_Light_BlueLids | BOOL | %W2.02 | out_Dig | out_Dig[34] | Fn15_WriteMultipleCoils | PLC → Factory I/O | Atuadores digitais / BOOL
DIGITAL OUTPUTS | Coil | 35 | Coil 35 | FO_Conveyor_0 | BOOL | %W2.03 | out_Dig | out_Dig[35] | Fn15_WriteMultipleCoils | PLC → Factory I/O | Atuadores digitais / BOOL
DIGITAL OUTPUTS | Coil | 36 | Coil 36 | FO_Conveyor_1 | BOOL | %W2.04 | out_Dig | out_Dig[36] | Fn15_WriteMultipleCoils | PLC → Factory I/O | Atuadores digitais / BOOL
DIGITAL OUTPUTS | Coil | 37 | Coil 37 | FO_Conveyor_2 | BOOL | %W2.05 | out_Dig | out_Dig[37] | Fn15_WriteMultipleCoils | PLC → Factory I/O | Atuadores digitais / BOOL
DIGITAL OUTPUTS | Coil | 38 | Coil 38 | FO_Conveyor_3 | BOOL | %W2.06 | out_Dig | out_Dig[38] | Fn15_WriteMultipleCoils | PLC → Factory I/O | Atuadores digitais / BOOL
DIGITAL OUTPUTS | Coil | 39 | Coil 39 | FO_Conveyor_4 | BOOL | %W2.07 | out_Dig | out_Dig[39] | Fn15_WriteMultipleCoils | PLC → Factory I/O | Atuadores digitais / BOOL
DIGITAL OUTPUTS | Coil | 40 | Coil 40 | FO_Conveyor_5 | BOOL | %W2.08 | out_Dig | out_Dig[40] | Fn15_WriteMultipleCoils | PLC → Factory I/O | Atuadores digitais / BOOL
DIGITAL OUTPUTS | Coil | 41 | Coil 41 | FO_Conveyor_6 | BOOL | %W2.09 | out_Dig | out_Dig[41] | Fn15_WriteMultipleCoils | PLC → Factory I/O | Atuadores digitais / BOOL
DIGITAL OUTPUTS | Coil | 42 | Coil 42 | FO_Conveyor_7 | BOOL | %W2.10 | out_Dig | out_Dig[42] | Fn15_WriteMultipleCoils | PLC → Factory I/O | Atuadores digitais / BOOL
DIGITAL OUTPUTS | Coil | 43 | Coil 43 | FO_Conveyor_8 | BOOL | %W2.11 | out_Dig | out_Dig[43] | Fn15_WriteMultipleCoils | PLC → Factory I/O | Atuadores digitais / BOOL
DIGITAL OUTPUTS | Coil | 44 | Coil 44 | FO_Pusher1 | BOOL | %W2.12 | out_Dig | out_Dig[44] | Fn15_WriteMultipleCoils | PLC → Factory I/O | Atuadores digitais / BOOL
DIGITAL OUTPUTS | Coil | 45 | Coil 45 | FO_Pusher2 | BOOL | %W2.13 | out_Dig | out_Dig[45] | Fn15_WriteMultipleCoils | PLC → Factory I/O | Atuadores digitais / BOOL
DIGITAL OUTPUTS | Coil | 46 | Coil 46 | FO_Pusher3 | BOOL | %W2.14 | out_Dig | out_Dig[46] | Fn15_WriteMultipleCoils | PLC → Factory I/O | Atuadores digitais / BOOL
DIGITAL OUTPUTS | Coil | 47 | Coil 47 | FO_Pusher4 | BOOL | %W2.15 | out_Dig | out_Dig[47] | Fn15_WriteMultipleCoils | PLC → Factory I/O | Atuadores digitais / BOOL
DIGITAL OUTPUTS | Coil | 48 | Coil 48 | FO_Conveyor_Selector_1 | BOOL | %W3.00 | out_Dig | out_Dig[48] | Fn15_WriteMultipleCoils | PLC → Factory I/O | Atuadores digitais / BOOL
DIGITAL OUTPUTS | Coil | 49 | Coil 49 | FO_Conveyor_Selector_2 | BOOL | %W3.01 | out_Dig | out_Dig[49] | Fn15_WriteMultipleCoils | PLC → Factory I/O | Atuadores digitais / BOOL
DIGITAL OUTPUTS | Coil | 50 | Coil 50 | FO_Conveyor_Selector_3 | BOOL | %W3.02 | out_Dig | out_Dig[50] | Fn15_WriteMultipleCoils | PLC → Factory I/O | Atuadores digitais / BOOL
DIGITAL OUTPUTS | Coil | 51 | Coil 51 | FO_Conveyor_Selector_4 | BOOL | %W3.03 | out_Dig | out_Dig[51] | Fn15_WriteMultipleCoils | PLC → Factory I/O | Atuadores digitais / BOOL
DIGITAL OUTPUTS | Coil | 52 | Coil 52 | FO_Stop_Blade_1 | BOOL | %W3.04 | out_Dig | out_Dig[52] | Fn15_WriteMultipleCoils | PLC → Factory I/O | Atuadores digitais / BOOL
DIGITAL OUTPUTS | Coil | 53 | Coil 53 | FO_Stop_Blade_2 | BOOL | %W3.05 | out_Dig | out_Dig[53] | Fn15_WriteMultipleCoils | PLC → Factory I/O | Atuadores digitais / BOOL
DIGITAL OUTPUTS | Coil | 54 | Coil 54 | FO_Stop_Blade_3 | BOOL | %W3.06 | out_Dig | out_Dig[54] | Fn15_WriteMultipleCoils | PLC → Factory I/O | Atuadores digitais / BOOL
DIGITAL OUTPUTS | Coil | 55 | Coil 55 | FO_Stop_Blade_4 | BOOL | %W3.07 | out_Dig | out_Dig[55] | Fn15_WriteMultipleCoils | PLC → Factory I/O | Atuadores digitais / BOOL
DIGITAL OUTPUTS | Coil | 56 | Coil 56 | FO_Left_Positioner_1_Raise | BOOL | %W3.08 | out_Dig | out_Dig[56] | Fn15_WriteMultipleCoils | PLC → Factory I/O | Atuadores digitais / BOOL
DIGITAL OUTPUTS | Coil | 57 | Coil 57 | FO_Left_Positioner_1_Clamp | BOOL | %W3.09 | out_Dig | out_Dig[57] | Fn15_WriteMultipleCoils | PLC → Factory I/O | Atuadores digitais / BOOL
DIGITAL OUTPUTS | Coil | 58 | Coil 58 | FO_Left_Positioner_2_Raise | BOOL | %W3.10 | out_Dig | out_Dig[58] | Fn15_WriteMultipleCoils | PLC → Factory I/O | Atuadores digitais / BOOL
DIGITAL OUTPUTS | Coil | 59 | Coil 59 | FO_Left_Positioner_2_Clamp | BOOL | %W3.11 | out_Dig | out_Dig[59] | Fn15_WriteMultipleCoils | PLC → Factory I/O | Atuadores digitais / BOOL
DIGITAL OUTPUTS | Coil | 60 | Coil 60 | FO_Left_Positioner_3_Raise | BOOL | %W3.12 | out_Dig | out_Dig[60] | Fn15_WriteMultipleCoils | PLC → Factory I/O | Atuadores digitais / BOOL
DIGITAL OUTPUTS | Coil | 61 | Coil 61 | FO_Right_Positioner_3_Clamp | BOOL | %W3.13 | out_Dig | out_Dig[61] | Fn15_WriteMultipleCoils | PLC → Factory I/O | Atuadores digitais / BOOL
DIGITAL OUTPUTS | Coil | 62 | Coil 62 | FO_Left_Positioner_4_Raise | BOOL | %W3.14 | out_Dig | out_Dig[62] | Fn15_WriteMultipleCoils | PLC → Factory I/O | Atuadores digitais / BOOL
DIGITAL OUTPUTS | Coil | 63 | Coil 63 | FO_Right_Positioner_4_Clamp | BOOL | %W3.15 | out_Dig | out_Dig[63] | Fn15_WriteMultipleCoils | PLC → Factory I/O | Atuadores digitais / BOOL
DIGITAL OUTPUTS | Coil | 64 | Coil 64 | FO_Two_Axis_Pick_Place_0_X | BOOL | %W4.00 | out_Dig | out_Dig[64] | Fn15_WriteMultipleCoils | PLC → Factory I/O | Atuadores digitais / BOOL
DIGITAL OUTPUTS | Coil | 65 | Coil 65 | FO_Two_Axis_Pick_Place_0_Z | BOOL | %W4.01 | out_Dig | out_Dig[65] | Fn15_WriteMultipleCoils | PLC → Factory I/O | Atuadores digitais / BOOL
DIGITAL OUTPUTS | Coil | 66 | Coil 66 | FO_Two_Axis_Pick_Place_0_Grab | BOOL | %W4.02 | out_Dig | out_Dig[66] | Fn15_WriteMultipleCoils | PLC → Factory I/O | Atuadores digitais / BOOL
DIGITAL OUTPUTS | Coil | 67 | Coil 67 | FO_Two_Axis_Pick_Place_1_X | BOOL | %W4.03 | out_Dig | out_Dig[67] | Fn15_WriteMultipleCoils | PLC → Factory I/O | Atuadores digitais / BOOL
DIGITAL OUTPUTS | Coil | 68 | Coil 68 | FO_Two_Axis_Pick_Place_1_Z | BOOL | %W4.04 | out_Dig | out_Dig[68] | Fn15_WriteMultipleCoils | PLC → Factory I/O | Atuadores digitais / BOOL
DIGITAL OUTPUTS | Coil | 69 | Coil 69 | FO_Two_Axis_Pick_Place_1_Grab | BOOL | %W4.05 | out_Dig | out_Dig[69] | Fn15_WriteMultipleCoils | PLC → Factory I/O | Atuadores digitais / BOOL
DIGITAL OUTPUTS | Coil | 70 | Coil 70 | FO_Conveyor_9 | BOOL | %W4.06 | out_Dig | out_Dig[70] | Fn15_WriteMultipleCoils | PLC → Factory I/O | Atuadores digitais / BOOL
DIGITAL OUTPUTS | Coil | 71 | Coil 71 | FO_Conveyor_10 | BOOL | %W4.07 | out_Dig | out_Dig[71] | Fn15_WriteMultipleCoils | PLC → Factory I/O | Atuadores digitais / BOOL
DIGITAL OUTPUTS | Coil | 72 | Coil 72 | FO_Conveyor_11 | BOOL | %W4.08 | out_Dig | out_Dig[72] | Fn15_WriteMultipleCoils | PLC → Factory I/O | Atuadores digitais / BOOL
DIGITAL OUTPUTS | Coil | 73 | Coil 73 | FO_Conveyor_12 | BOOL | %W4.09 | out_Dig | out_Dig[73] | Fn15_WriteMultipleCoils | PLC → Factory I/O | Atuadores digitais / BOOL
DIGITAL OUTPUTS | Coil | 74 | Coil 74 | FO_Conveyor_13 | BOOL | %W4.10 | out_Dig | out_Dig[74] | Fn15_WriteMultipleCoils | PLC → Factory I/O | Atuadores digitais / BOOL
DIGITAL OUTPUTS | Coil | 75 | Coil 75 | FO_Conveyor_14 | BOOL | %W4.11 | out_Dig | out_Dig[75] | Fn15_WriteMultipleCoils | PLC → Factory I/O | Atuadores digitais / BOOL
DIGITAL OUTPUTS | Coil | 76 | Coil 76 | FO_Conveyor_15 | BOOL | %W4.12 | out_Dig | out_Dig[76] | Fn15_WriteMultipleCoils | PLC → Factory I/O | Atuadores digitais / BOOL
DIGITAL OUTPUTS | Coil | 77 | Coil 77 | FO_Conveyor_16 | BOOL | %W4.13 | out_Dig | out_Dig[77] | Fn15_WriteMultipleCoils | PLC → Factory I/O | Atuadores digitais / BOOL
DIGITAL OUTPUTS | Coil | 78 | Coil 78 | FO_Conveyor_17 | BOOL | %W4.14 | out_Dig | out_Dig[78] | Fn15_WriteMultipleCoils | PLC → Factory I/O | Atuadores digitais / BOOL
DIGITAL OUTPUTS | Coil | 79 | Coil 79 | FO_Conveyor_21 | BOOL | %W4.15 | out_Dig | out_Dig[79] | Fn15_WriteMultipleCoils | PLC → Factory I/O | Atuadores digitais / BOOL
DIGITAL OUTPUTS | Coil | 80 | Coil 80 | FO_Conveyor_22 | BOOL | %W5.00 | out_Dig | out_Dig[80] | Fn15_WriteMultipleCoils | PLC → Factory I/O | Atuadores digitais / BOOL
DIGITAL OUTPUTS | Coil | 81 | Coil 81 | FO_Conveyor_23 | BOOL | %W5.01 | out_Dig | out_Dig[81] | Fn15_WriteMultipleCoils | PLC → Factory I/O | Atuadores digitais / BOOL
DIGITAL OUTPUTS | Coil | 82 | Coil 82 | FO_Conveyor_24 | BOOL | %W5.02 | out_Dig | out_Dig[82] | Fn15_WriteMultipleCoils | PLC → Factory I/O | Atuadores digitais / BOOL
DIGITAL OUTPUTS | Coil | 83 | Coil 83 | FO_Roller_Stop_Blade_Kuka | BOOL | %W5.03 | out_Dig | out_Dig[83] | Fn15_WriteMultipleCoils | PLC → Factory I/O | Atuadores digitais / BOOL
DIGITAL OUTPUTS | Coil | 84 | Coil 84 | FO_Pallet_Emitter_Green | BOOL | %W5.04 | out_Dig | out_Dig[84] | Fn15_WriteMultipleCoils | PLC → Factory I/O | Atuadores digitais / BOOL
DIGITAL OUTPUTS | Coil | 85 | Coil 85 | FO_Roller_Conveyor_1 | BOOL | %W5.05 | out_Dig | out_Dig[85] | Fn15_WriteMultipleCoils | PLC → Factory I/O | Atuadores digitais / BOOL
DIGITAL OUTPUTS | Coil | 86 | Coil 86 | FO_Roller_Conveyor_2 | BOOL | %W5.06 | out_Dig | out_Dig[86] | Fn15_WriteMultipleCoils | PLC → Factory I/O | Atuadores digitais / BOOL
DIGITAL OUTPUTS | Coil | 87 | Coil 87 | FO_Pallet_Emitter_Blue | BOOL | %W5.07 | out_Dig | out_Dig[87] | Fn15_WriteMultipleCoils | PLC → Factory I/O | Atuadores digitais / BOOL
DIGITAL OUTPUTS | Coil | 88 | Coil 88 | FO_Roller_Conveyor_3 | BOOL | %W5.08 | out_Dig | out_Dig[88] | Fn15_WriteMultipleCoils | PLC → Factory I/O | Atuadores digitais / BOOL
DIGITAL OUTPUTS | Coil | 89 | Coil 89 | FO_Roller_Conveyor_4 | BOOL | %W5.09 | out_Dig | out_Dig[89] | Fn15_WriteMultipleCoils | PLC → Factory I/O | Atuadores digitais / BOOL
DIGITAL OUTPUTS | Coil | 90 | Coil 90 | Diffuse_Arriving_kuka | BOOL | %W5.10 | out_Dig | out_Dig[90] | Fn15_WriteMultipleCoils | PLC → Factory I/O | Atuadores digitais / BOOL
DIGITAL OUTPUTS | Coil | 91 | Coil 91 | FO_Reserve_9 | BOOL | %W5.11 | out_Dig | out_Dig[91] | Fn15_WriteMultipleCoils | PLC → Factory I/O | Atuadores digitais / BOOL | NOT USED
DIGITAL OUTPUTS | Coil | 92 | Coil 92 | FO_Reserve15 | BOOL | %W5.12 | out_Dig | out_Dig[92] | Fn15_WriteMultipleCoils | PLC → Factory I/O | Atuadores digitais / BOOL | NOT USED
DIGITAL OUTPUTS | Coil | 93 | Coil 93 | FO_Reserve16 | BOOL | %W5.13 | out_Dig | out_Dig[93] | Fn15_WriteMultipleCoils | PLC → Factory I/O | Atuadores digitais / BOOL | NOT USED
DIGITAL OUTPUTS | Coil | 94 | Coil 94 | FO_Reserve17 | BOOL | %W5.14 | out_Dig | out_Dig[94] | Fn15_WriteMultipleCoils | PLC → Factory I/O | Atuadores digitais / BOOL | NOT USED
DIGITAL OUTPUTS | Coil | 95 | Coil 95 | FO_Reserve18 | BOOL | %W5.15 | out_Dig | out_Dig[95] | Fn15_WriteMultipleCoils | PLC → Factory I/O | Atuadores digitais / BOOL | NOT USED
DIGITAL OUTPUTS | Coil | 96 | Coil 96 | FO_Reserve19 | BOOL | %W6.00 | out_Dig | out_Dig[96] | Fn15_WriteMultipleCoils | PLC → Factory I/O | Atuadores digitais / BOOL | NOT USED
DIGITAL OUTPUTS | Coil | 97 | Coil 97 | LIVRE | BOOL | %W6.01 | out_Dig | out_Dig[97] | Fn15_WriteMultipleCoils | PLC → Factory I/O | Atuadores digitais / BOOL | Sem variável Sysmac mapeada
DIGITAL OUTPUTS | Coil | 98 | Coil 98 | LIVRE | BOOL | %W6.02 | out_Dig | out_Dig[98] | Fn15_WriteMultipleCoils | PLC → Factory I/O | Atuadores digitais / BOOL | Sem variável Sysmac mapeada
DIGITAL OUTPUTS | Coil | 99 | Coil 99 | LIVRE | BOOL | %W6.03 | out_Dig | out_Dig[99] | Fn15_WriteMultipleCoils | PLC → Factory I/O | Atuadores digitais / BOOL | Sem variável Sysmac mapeada
DIGITAL OUTPUTS | Coil | 100 | Coil 100 | LIVRE | BOOL | %W6.04 | out_Dig | out_Dig[100] | Fn15_WriteMultipleCoils | PLC → Factory I/O | Atuadores digitais / BOOL | Sem variável Sysmac mapeada
DIGITAL OUTPUTS | Coil | 101 | Coil 101 | LIVRE | BOOL | %W6.05 | out_Dig | out_Dig[101] | Fn15_WriteMultipleCoils | PLC → Factory I/O | Atuadores digitais / BOOL | Sem variável Sysmac mapeada
DIGITAL OUTPUTS | Coil | 102 | Coil 102 | LIVRE | BOOL | %W6.06 | out_Dig | out_Dig[102] | Fn15_WriteMultipleCoils | PLC → Factory I/O | Atuadores digitais / BOOL | Sem variável Sysmac mapeada
DIGITAL OUTPUTS | Coil | 103 | Coil 103 | LIVRE | BOOL | %W6.07 | out_Dig | out_Dig[103] | Fn15_WriteMultipleCoils | PLC → Factory I/O | Atuadores digitais / BOOL | Sem variável Sysmac mapeada
DIGITAL OUTPUTS | Coil | 104 | Coil 104 | LIVRE | BOOL | %W6.08 | out_Dig | out_Dig[104] | Fn15_WriteMultipleCoils | PLC → Factory I/O | Atuadores digitais / BOOL | Sem variável Sysmac mapeada
DIGITAL OUTPUTS | Coil | 105 | Coil 105 | LIVRE | BOOL | %W6.09 | out_Dig | out_Dig[105] | Fn15_WriteMultipleCoils | PLC → Factory I/O | Atuadores digitais / BOOL | Sem variável Sysmac mapeada
DIGITAL OUTPUTS | Coil | 106 | Coil 106 | LIVRE | BOOL | %W6.10 | out_Dig | out_Dig[106] | Fn15_WriteMultipleCoils | PLC → Factory I/O | Atuadores digitais / BOOL | Sem variável Sysmac mapeada
DIGITAL OUTPUTS | Coil | 107 | Coil 107 | LIVRE | BOOL | %W6.11 | out_Dig | out_Dig[107] | Fn15_WriteMultipleCoils | PLC → Factory I/O | Atuadores digitais / BOOL | Sem variável Sysmac mapeada
DIGITAL OUTPUTS | Coil | 108 | Coil 108 | LIVRE | BOOL | %W6.12 | out_Dig | out_Dig[108] | Fn15_WriteMultipleCoils | PLC → Factory I/O | Atuadores digitais / BOOL | Sem variável Sysmac mapeada
DIGITAL OUTPUTS | Coil | 109 | Coil 109 | LIVRE | BOOL | %W6.13 | out_Dig | out_Dig[109] | Fn15_WriteMultipleCoils | PLC → Factory I/O | Atuadores digitais / BOOL | Sem variável Sysmac mapeada
DIGITAL INPUTS | Input | 0 | Input 0 | FO_Start_Button | BOOL | %W12.00 | in_Dig | in_Dig[0] | Fn02_ReadDiscreteInputs | Factory I/O → PLC | Sensores digitais / BOOL
DIGITAL INPUTS | Input | 1 | Input 1 | FO_Stop_Button | BOOL | %W12.01 | in_Dig | in_Dig[1] | Fn02_ReadDiscreteInputs | Factory I/O → PLC | Sensores digitais / BOOL
DIGITAL INPUTS | Input | 2 | Input 2 | FO_Emergency_Button | BOOL | %W12.02 | in_Dig | in_Dig[2] | Fn02_ReadDiscreteInputs | Factory I/O → PLC | Sensores digitais / BOOL
DIGITAL INPUTS | Input | 3 | Input 3 | FO_Reset_Button | BOOL | %W12.03 | in_Dig | in_Dig[3] | Fn02_ReadDiscreteInputs | Factory I/O → PLC | Sensores digitais / BOOL
DIGITAL INPUTS | Input | 4 | Input 4 | FO_GreenBases_EntrySensor | BOOL | %W12.04 | in_Dig | in_Dig[4] | Fn02_ReadDiscreteInputs | Factory I/O → PLC | Sensores digitais / BOOL
DIGITAL INPUTS | Input | 5 | Input 5 | FO_GreenBases_ExitSensor | BOOL | %W12.05 | in_Dig | in_Dig[5] | Fn02_ReadDiscreteInputs | Factory I/O → PLC | Sensores digitais / BOOL
DIGITAL INPUTS | Input | 6 | Input 6 | FO_GreenBases_FinalExitSensor | BOOL | %W12.06 | in_Dig | in_Dig[6] | Fn02_ReadDiscreteInputs | Factory I/O → PLC | Sensores digitais / BOOL
DIGITAL INPUTS | Input | 7 | Input 7 | FO_GreenBases_DoorState | BOOL | %W12.07 | in_Dig | in_Dig[7] | Fn02_ReadDiscreteInputs | Factory I/O → PLC | Sensores digitais / BOOL
DIGITAL INPUTS | Input | 8 | Input 8 | FO_GreenBases_MachiningCenter_IsBusy | BOOL | %W12.08 | in_Dig | in_Dig[8] | Fn02_ReadDiscreteInputs | Factory I/O → PLC | Sensores digitais / BOOL
DIGITAL INPUTS | Input | 9 | Input 9 | FO_GreenBases_MachiningCenter_HasError | BOOL | %W12.09 | in_Dig | in_Dig[9] | Fn02_ReadDiscreteInputs | Factory I/O → PLC | Sensores digitais / BOOL
DIGITAL INPUTS | Input | 10 | Input 10 | FO_GreenLids_EntrySensor | BOOL | %W12.10 | in_Dig | in_Dig[10] | Fn02_ReadDiscreteInputs | Factory I/O → PLC | Sensores digitais / BOOL
DIGITAL INPUTS | Input | 11 | Input 11 | FO_GreenLids_ExitSensor | BOOL | %W12.11 | in_Dig | in_Dig[11] | Fn02_ReadDiscreteInputs | Factory I/O → PLC | Sensores digitais / BOOL
DIGITAL INPUTS | Input | 12 | Input 12 | FO_GreenLids_FinalExitSensor | BOOL | %W12.12 | in_Dig | in_Dig[12] | Fn02_ReadDiscreteInputs | Factory I/O → PLC | Sensores digitais / BOOL
DIGITAL INPUTS | Input | 13 | Input 13 | FO_GreenLids_DoorState | BOOL | %W12.13 | in_Dig | in_Dig[13] | Fn02_ReadDiscreteInputs | Factory I/O → PLC | Sensores digitais / BOOL
DIGITAL INPUTS | Input | 14 | Input 14 | FO_GreenLids_MachiningCenter_IsBusy | BOOL | %W12.14 | in_Dig | in_Dig[14] | Fn02_ReadDiscreteInputs | Factory I/O → PLC | Sensores digitais / BOOL
DIGITAL INPUTS | Input | 15 | Input 15 | FO_GreenLids_MachiningCenter_HasError | BOOL | %W12.15 | in_Dig | in_Dig[15] | Fn02_ReadDiscreteInputs | Factory I/O → PLC | Sensores digitais / BOOL
DIGITAL INPUTS | Input | 16 | Input 16 | FO_BlueBases_EntrySensor | BOOL | %W13.00 | in_Dig | in_Dig[16] | Fn02_ReadDiscreteInputs | Factory I/O → PLC | Sensores digitais / BOOL
DIGITAL INPUTS | Input | 17 | Input 17 | FO_BlueBases_ExitSensor | BOOL | %W13.01 | in_Dig | in_Dig[17] | Fn02_ReadDiscreteInputs | Factory I/O → PLC | Sensores digitais / BOOL
DIGITAL INPUTS | Input | 18 | Input 18 | FO_BlueBases_FinalExitSensor | BOOL | %W13.02 | in_Dig | in_Dig[18] | Fn02_ReadDiscreteInputs | Factory I/O → PLC | Sensores digitais / BOOL
DIGITAL INPUTS | Input | 19 | Input 19 | FO_BlueBases_DoorState | BOOL | %W13.03 | in_Dig | in_Dig[19] | Fn02_ReadDiscreteInputs | Factory I/O → PLC | Sensores digitais / BOOL
DIGITAL INPUTS | Input | 20 | Input 20 | FO_BlueBases_MachiningCenter_IsBusy | BOOL | %W13.04 | in_Dig | in_Dig[20] | Fn02_ReadDiscreteInputs | Factory I/O → PLC | Sensores digitais / BOOL
DIGITAL INPUTS | Input | 21 | Input 21 | FO_BlueBases_MachiningCenter_HasError | BOOL | %W13.05 | in_Dig | in_Dig[21] | Fn02_ReadDiscreteInputs | Factory I/O → PLC | Sensores digitais / BOOL
DIGITAL INPUTS | Input | 22 | Input 22 | FO_BlueLids_EntrySensor | BOOL | %W13.06 | in_Dig | in_Dig[22] | Fn02_ReadDiscreteInputs | Factory I/O → PLC | Sensores digitais / BOOL
DIGITAL INPUTS | Input | 23 | Input 23 | FO_BlueLids_ExitSensor | BOOL | %W13.07 | in_Dig | in_Dig[23] | Fn02_ReadDiscreteInputs | Factory I/O → PLC | Sensores digitais / BOOL
DIGITAL INPUTS | Input | 24 | Input 24 | FO_BlueLids_FinalExitSensor | BOOL | %W13.08 | in_Dig | in_Dig[24] | Fn02_ReadDiscreteInputs | Factory I/O → PLC | Sensores digitais / BOOL
DIGITAL INPUTS | Input | 25 | Input 25 | FO_BlueLids_DoorState | BOOL | %W13.09 | in_Dig | in_Dig[25] | Fn02_ReadDiscreteInputs | Factory I/O → PLC | Sensores digitais / BOOL
DIGITAL INPUTS | Input | 26 | Input 26 | FO_BlueLids_MachiningCenter_IsBusy | BOOL | %W13.10 | in_Dig | in_Dig[26] | Fn02_ReadDiscreteInputs | Factory I/O → PLC | Sensores digitais / BOOL
DIGITAL INPUTS | Input | 27 | Input 27 | FO_BlueLids_MachiningCenter_HasError | BOOL | %W13.11 | in_Dig | in_Dig[27] | Fn02_ReadDiscreteInputs | Factory I/O → PLC | Sensores digitais / BOOL
DIGITAL INPUTS | Input | 28 | Input 28 | FO_Diffuse_Aux_1 | BOOL | %W13.12 | in_Dig | in_Dig[28] | Fn02_ReadDiscreteInputs | Factory I/O → PLC | Sensores digitais / BOOL
DIGITAL INPUTS | Input | 29 | Input 29 | FO_Diffuse_Vision_Sensor | BOOL | %W13.13 | in_Dig | in_Dig[29] | Fn02_ReadDiscreteInputs | Factory I/O → PLC | Sensores digitais / BOOL | NOT USED Era usado no Reserve_10
DIGITAL INPUTS | Input | 30 | Input 30 | FO_Pusher1_Back_Limit | BOOL | %W13.14 | in_Dig | in_Dig[30] | Fn02_ReadDiscreteInputs | Factory I/O → PLC | Sensores digitais / BOOL
DIGITAL INPUTS | Input | 31 | Input 31 | FO_Pusher1_Front_Limit | BOOL | %W13.15 | in_Dig | in_Dig[31] | Fn02_ReadDiscreteInputs | Factory I/O → PLC | Sensores digitais / BOOL
DIGITAL INPUTS | Input | 32 | Input 32 | FO_Pusher2_Back_Limit | BOOL | %W14.00 | in_Dig | in_Dig[32] | Fn02_ReadDiscreteInputs | Factory I/O → PLC | Sensores digitais / BOOL
DIGITAL INPUTS | Input | 33 | Input 33 | FO_Pusher2_Front_Limit | BOOL | %W14.01 | in_Dig | in_Dig[33] | Fn02_ReadDiscreteInputs | Factory I/O → PLC | Sensores digitais / BOOL
DIGITAL INPUTS | Input | 34 | Input 34 | FO_Pusher3_Back_Limit | BOOL | %W14.02 | in_Dig | in_Dig[34] | Fn02_ReadDiscreteInputs | Factory I/O → PLC | Sensores digitais / BOOL
DIGITAL INPUTS | Input | 35 | Input 35 | FO_Pusher3_Front_Limit | BOOL | %W14.03 | in_Dig | in_Dig[35] | Fn02_ReadDiscreteInputs | Factory I/O → PLC | Sensores digitais / BOOL
DIGITAL INPUTS | Input | 36 | Input 36 | FO_Pusher4_Back_Limit | BOOL | %W14.04 | in_Dig | in_Dig[36] | Fn02_ReadDiscreteInputs | Factory I/O → PLC | Sensores digitais / BOOL
DIGITAL INPUTS | Input | 37 | Input 37 | FO_Pusher4_Front_Limit | BOOL | %W14.05 | in_Dig | in_Dig[37] | Fn02_ReadDiscreteInputs | Factory I/O → PLC | Sensores digitais / BOOL
DIGITAL INPUTS | Input | 38 | Input 38 | FO_Sensor_Selector_1 | BOOL | %W14.06 | in_Dig | in_Dig[38] | Fn02_ReadDiscreteInputs | Factory I/O → PLC | Sensores digitais / BOOL
DIGITAL INPUTS | Input | 39 | Input 39 | FO_Sensor_Selector_2 | BOOL | %W14.07 | in_Dig | in_Dig[39] | Fn02_ReadDiscreteInputs | Factory I/O → PLC | Sensores digitais / BOOL
DIGITAL INPUTS | Input | 40 | Input 40 | FO_Sensor_Selector_3 | BOOL | %W14.08 | in_Dig | in_Dig[40] | Fn02_ReadDiscreteInputs | Factory I/O → PLC | Sensores digitais / BOOL
DIGITAL INPUTS | Input | 41 | Input 41 | FO_Sensor_Selector_4 | BOOL | %W14.09 | in_Dig | in_Dig[41] | Fn02_ReadDiscreteInputs | Factory I/O → PLC | Sensores digitais / BOOL
DIGITAL INPUTS | Input | 42 | Input 42 | FO_Sensor_Selector_5 | BOOL | %W14.10 | in_Dig | in_Dig[42] | Fn02_ReadDiscreteInputs | Factory I/O → PLC | Sensores digitais / BOOL
DIGITAL INPUTS | Input | 43 | Input 43 | FO_DifSensor_PickPlace_1 | BOOL | %W14.11 | in_Dig | in_Dig[43] | Fn02_ReadDiscreteInputs | Factory I/O → PLC | Sensores digitais / BOOL
DIGITAL INPUTS | Input | 44 | Input 44 | FO_DifSensor_PickPlace_2 | BOOL | %W14.12 | in_Dig | in_Dig[44] | Fn02_ReadDiscreteInputs | Factory I/O → PLC | Sensores digitais / BOOL
DIGITAL INPUTS | Input | 45 | Input 45 | FO_DifSensor_PickPlace_3 | BOOL | %W14.13 | in_Dig | in_Dig[45] | Fn02_ReadDiscreteInputs | Factory I/O → PLC | Sensores digitais / BOOL
DIGITAL INPUTS | Input | 46 | Input 46 | FO_DifSensor_PickPlace_4 | BOOL | %W14.14 | in_Dig | in_Dig[46] | Fn02_ReadDiscreteInputs | Factory I/O → PLC | Sensores digitais / BOOL
DIGITAL INPUTS | Input | 47 | Input 47 | FO_Left_Positioner_1_Limit | BOOL | %W14.15 | in_Dig | in_Dig[47] | Fn02_ReadDiscreteInputs | Factory I/O → PLC | Sensores digitais / BOOL
DIGITAL INPUTS | Input | 48 | Input 48 | FO_Left_Positioner_2_Limit | BOOL | %W15.00 | in_Dig | in_Dig[48] | Fn02_ReadDiscreteInputs | Factory I/O → PLC | Sensores digitais / BOOL
DIGITAL INPUTS | Input | 49 | Input 49 | FO_Left_Positioner_3_Limit | BOOL | %W15.01 | in_Dig | in_Dig[49] | Fn02_ReadDiscreteInputs | Factory I/O → PLC | Sensores digitais / BOOL
DIGITAL INPUTS | Input | 50 | Input 50 | FO_Left_Positioner_4_Limit | BOOL | %W15.02 | in_Dig | in_Dig[50] | Fn02_ReadDiscreteInputs | Factory I/O → PLC | Sensores digitais / BOOL
DIGITAL INPUTS | Input | 51 | Input 51 | FO_Two_Axis_Pick_Place_0_Sensor_X | BOOL | %W15.03 | in_Dig | in_Dig[51] | Fn02_ReadDiscreteInputs | Factory I/O → PLC | Sensores digitais / BOOL
DIGITAL INPUTS | Input | 52 | Input 52 | FO_Two_Axis_Pick_Place_0_Sensor_Z | BOOL | %W15.04 | in_Dig | in_Dig[52] | Fn02_ReadDiscreteInputs | Factory I/O → PLC | Sensores digitais / BOOL
DIGITAL INPUTS | Input | 53 | Input 53 | FO_Two_Axis_Pick_Place_0_Sensor_Detected | BOOL | %W15.05 | in_Dig | in_Dig[53] | Fn02_ReadDiscreteInputs | Factory I/O → PLC | Sensores digitais / BOOL
DIGITAL INPUTS | Input | 54 | Input 54 | FO_Two_Axis_Pick_Place_1_Sensor_X | BOOL | %W15.06 | in_Dig | in_Dig[54] | Fn02_ReadDiscreteInputs | Factory I/O → PLC | Sensores digitais / BOOL
DIGITAL INPUTS | Input | 55 | Input 55 | FO_Two_Axis_Pick_Place_1_Sensor_Z | BOOL | %W15.07 | in_Dig | in_Dig[55] | Fn02_ReadDiscreteInputs | Factory I/O → PLC | Sensores digitais / BOOL
DIGITAL INPUTS | Input | 56 | Input 56 | FO_Two_Axis_Pick_Place_1_Sensor_Detected | BOOL | %W15.08 | in_Dig | in_Dig[56] | Fn02_ReadDiscreteInputs | Factory I/O → PLC | Sensores digitais / BOOL
DIGITAL INPUTS | Input | 57 | Input 57 | Difuse_Sensor_PickPlace_1 | BOOL | %W15.09 | in_Dig | in_Dig[57] | Fn02_ReadDiscreteInputs | Factory I/O → PLC | Sensores digitais / BOOL
DIGITAL INPUTS | Input | 58 | Input 58 | Difuse_Sensor_PickPlace_2 | BOOL | %W15.10 | in_Dig | in_Dig[58] | Fn02_ReadDiscreteInputs | Factory I/O → PLC | Sensores digitais / BOOL
DIGITAL INPUTS | Input | 59 | Input 59 | Difuse_Sensor_PickPlace_3 | BOOL | %W15.11 | in_Dig | in_Dig[59] | Fn02_ReadDiscreteInputs | Factory I/O → PLC | Sensores digitais / BOOL
DIGITAL INPUTS | Input | 60 | Input 60 | Difuse_Sensor_PickPlace_4 | BOOL | %W15.12 | in_Dig | in_Dig[60] | Fn02_ReadDiscreteInputs | Factory I/O → PLC | Sensores digitais / BOOL
DIGITAL INPUTS | Input | 61 | Input 61 | FO_Diffuse_Sensor_kuka | BOOL | %W15.13 | in_Dig | in_Dig[61] | Fn02_ReadDiscreteInputs | Factory I/O → PLC | Sensores digitais / BOOL
DIGITAL INPUTS | Input | 62 | Input 62 | FO_Diffuse_GreenPallet | BOOL | %W15.14 | in_Dig | in_Dig[62] | Fn02_ReadDiscreteInputs | Factory I/O → PLC | Sensores digitais / BOOL
DIGITAL INPUTS | Input | 63 | Input 63 | FO_Diffuse_BluePallet | BOOL | %W15.15 | in_Dig | in_Dig[63] | Fn02_ReadDiscreteInputs | Factory I/O → PLC | Sensores digitais / BOOL
DIGITAL INPUTS | Input | 64 | Input 64 | FO_Reserve_11 | BOOL | %W16.00 | in_Dig | in_Dig[64] | Fn02_ReadDiscreteInputs | Factory I/O → PLC | Sensores digitais / BOOL | GreenBases_InsideSensor
DIGITAL INPUTS | Input | 65 | Input 65 | FO_Reserve_12 | BOOL | %W16.01 | in_Dig | in_Dig[65] | Fn02_ReadDiscreteInputs | Factory I/O → PLC | Sensores digitais / BOOL | GreenLids_InsideSensor
DIGITAL INPUTS | Input | 66 | Input 66 | FO_Reserve_13 | BOOL | %W16.02 | in_Dig | in_Dig[66] | Fn02_ReadDiscreteInputs | Factory I/O → PLC | Sensores digitais / BOOL | BlueBases_InsideSensor
DIGITAL INPUTS | Input | 67 | Input 67 | FO_Reserve_14 | BOOL | %W16.03 | in_Dig | in_Dig[67] | Fn02_ReadDiscreteInputs | Factory I/O → PLC | Sensores digitais / BOOL | BlueLids_InsideSensor
DIGITAL INPUTS | Input | 68 | Input 68 | FO_Reserve_21 | BOOL | %W16.04 | in_Dig | in_Dig[68] | Fn02_ReadDiscreteInputs | Factory I/O → PLC | Sensores digitais / BOOL | Left Positioner 1 (Campled)
DIGITAL INPUTS | Input | 69 | Input 69 | FO_Reserve_22 | BOOL | %W16.05 | in_Dig | in_Dig[69] | Fn02_ReadDiscreteInputs | Factory I/O → PLC | Sensores digitais / BOOL | Left Positioner 2 (Campled)
DIGITAL INPUTS | Input | 70 | Input 70 | FO_Reserve_23 | BOOL | %W16.06 | in_Dig | in_Dig[70] | Fn02_ReadDiscreteInputs | Factory I/O → PLC | Sensores digitais / BOOL | Right Positioner 3 (Campled)
DIGITAL INPUTS | Input | 71 | Input 71 | FO_Reserve_24 | BOOL | %W16.07 | in_Dig | in_Dig[71] | Fn02_ReadDiscreteInputs | Factory I/O → PLC | Sensores digitais / BOOL | Right Positioner 4 (Campled)
DIGITAL INPUTS | Input | 72 | Input 72 | FO_Diffuse_Arriving_kuka | BOOL | %W16.08 | in_Dig | in_Dig[72] | Fn02_ReadDiscreteInputs | Factory I/O → PLC | Sensores digitais / BOOL | Sem variável Sysmac mapeada
DIGITAL INPUTS | Input | 73 | Input 73 | LIVRE | BOOL | %W16.09 | in_Dig | in_Dig[73] | Fn02_ReadDiscreteInputs | Factory I/O → PLC | Sensores digitais / BOOL | Sem variável Sysmac mapeada
DIGITAL INPUTS | Input | 74 | Input 74 | LIVRE | BOOL | %W16.10 | in_Dig | in_Dig[74] | Fn02_ReadDiscreteInputs | Factory I/O → PLC | Sensores digitais / BOOL | Sem variável Sysmac mapeada
DIGITAL INPUTS | Input | 75 | Input 75 | LIVRE | BOOL | %W16.11 | in_Dig | in_Dig[75] | Fn02_ReadDiscreteInputs | Factory I/O → PLC | Sensores digitais / BOOL | Sem variável Sysmac mapeada
DIGITAL INPUTS | Input | 76 | Input 76 | LIVRE | BOOL | %W16.12 | in_Dig | in_Dig[76] | Fn02_ReadDiscreteInputs | Factory I/O → PLC | Sensores digitais / BOOL | Sem variável Sysmac mapeada
DIGITAL INPUTS | Input | 77 | Input 77 | LIVRE | BOOL | %W16.13 | in_Dig | in_Dig[77] | Fn02_ReadDiscreteInputs | Factory I/O → PLC | Sensores digitais / BOOL | Sem variável Sysmac mapeada
DIGITAL INPUTS | Input | 78 | Input 78 | LIVRE | BOOL | %W16.14 | in_Dig | in_Dig[78] | Fn02_ReadDiscreteInputs | Factory I/O → PLC | Sensores digitais / BOOL | Sem variável Sysmac mapeada
DIGITAL INPUTS | Input | 79 | Input 79 | LIVRE | BOOL | %W16.15 | in_Dig | in_Dig[79] | Fn02_ReadDiscreteInputs | Factory I/O → PLC | Sensores digitais / BOOL | Sem variável Sysmac mapeada
DIGITAL INPUTS | Input | 80 | Input 80 | LIVRE | BOOL | %W17.00 | in_Dig | in_Dig[80] | Fn02_ReadDiscreteInputs | Factory I/O → PLC | Sensores digitais / BOOL | Sem variável Sysmac mapeada
DIGITAL INPUTS | Input | 81 | Input 81 | LIVRE | BOOL | %W17.01 | in_Dig | in_Dig[81] | Fn02_ReadDiscreteInputs | Factory I/O → PLC | Sensores digitais / BOOL | Sem variável Sysmac mapeada
DIGITAL INPUTS | Input | 82 | Input 82 | LIVRE | BOOL | %W17.02 | in_Dig | in_Dig[82] | Fn02_ReadDiscreteInputs | Factory I/O → PLC | Sensores digitais / BOOL | Sem variável Sysmac mapeada
DIGITAL INPUTS | Input | 83 | Input 83 | LIVRE | BOOL | %W17.03 | in_Dig | in_Dig[83] | Fn02_ReadDiscreteInputs | Factory I/O → PLC | Sensores digitais / BOOL | Sem variável Sysmac mapeada
DIGITAL INPUTS | Input | 84 | Input 84 | LIVRE | BOOL | %W17.04 | in_Dig | in_Dig[84] | Fn02_ReadDiscreteInputs | Factory I/O → PLC | Sensores digitais / BOOL | Sem variável Sysmac mapeada
DIGITAL INPUTS | Input | 85 | Input 85 | LIVRE | BOOL | %W17.05 | in_Dig | in_Dig[85] | Fn02_ReadDiscreteInputs | Factory I/O → PLC | Sensores digitais / BOOL | Sem variável Sysmac mapeada
DIGITAL INPUTS | Input | 86 | Input 86 | LIVRE | BOOL | %W17.06 | in_Dig | in_Dig[86] | Fn02_ReadDiscreteInputs | Factory I/O → PLC | Sensores digitais / BOOL | Sem variável Sysmac mapeada
DIGITAL INPUTS | Input | 87 | Input 87 | LIVRE | BOOL | %W17.07 | in_Dig | in_Dig[87] | Fn02_ReadDiscreteInputs | Factory I/O → PLC | Sensores digitais / BOOL | Sem variável Sysmac mapeada
DIGITAL INPUTS | Input | 88 | Input 88 | LIVRE | BOOL | %W17.08 | in_Dig | in_Dig[88] | Fn02_ReadDiscreteInputs | Factory I/O → PLC | Sensores digitais / BOOL | Sem variável Sysmac mapeada
DIGITAL INPUTS | Input | 89 | Input 89 | LIVRE | BOOL | %W17.09 | in_Dig | in_Dig[89] | Fn02_ReadDiscreteInputs | Factory I/O → PLC | Sensores digitais / BOOL | Sem variável Sysmac mapeada
DIGITAL INPUTS | Input | 90 | Input 90 | LIVRE | BOOL | %W17.10 | in_Dig | in_Dig[90] | Fn02_ReadDiscreteInputs | Factory I/O → PLC | Sensores digitais / BOOL | Sem variável Sysmac mapeada
DIGITAL INPUTS | Input | 91 | Input 91 | LIVRE | BOOL | %W17.11 | in_Dig | in_Dig[91] | Fn02_ReadDiscreteInputs | Factory I/O → PLC | Sensores digitais / BOOL | Sem variável Sysmac mapeada
DIGITAL INPUTS | Input | 92 | Input 92 | LIVRE | BOOL | %W17.12 | in_Dig | in_Dig[92] | Fn02_ReadDiscreteInputs | Factory I/O → PLC | Sensores digitais / BOOL | Sem variável Sysmac mapeada
DIGITAL INPUTS | Input | 93 | Input 93 | LIVRE | BOOL | %W17.13 | in_Dig | in_Dig[93] | Fn02_ReadDiscreteInputs | Factory I/O → PLC | Sensores digitais / BOOL | Sem variável Sysmac mapeada
DIGITAL INPUTS | Input | 94 | Input 94 | LIVRE | BOOL | %W17.14 | in_Dig | in_Dig[94] | Fn02_ReadDiscreteInputs | Factory I/O → PLC | Sensores digitais / BOOL | Sem variável Sysmac mapeada
DIGITAL INPUTS | Input | 95 | Input 95 | LIVRE | BOOL | %W17.15 | in_Dig | in_Dig[95] | Fn02_ReadDiscreteInputs | Factory I/O → PLC | Sensores digitais / BOOL | Sem variável Sysmac mapeada
DIGITAL INPUTS | Input | 96 | Input 96 | LIVRE | BOOL | %W18.00 | in_Dig | in_Dig[96] | Fn02_ReadDiscreteInputs | Factory I/O → PLC | Sensores digitais / BOOL | Sem variável Sysmac mapeada
DIGITAL INPUTS | Input | 97 | Input 97 | LIVRE | BOOL | %W18.01 | in_Dig | in_Dig[97] | Fn02_ReadDiscreteInputs | Factory I/O → PLC | Sensores digitais / BOOL | Sem variável Sysmac mapeada
DIGITAL INPUTS | Input | 98 | Input 98 | LIVRE | BOOL | %W18.02 | in_Dig | in_Dig[98] | Fn02_ReadDiscreteInputs | Factory I/O → PLC | Sensores digitais / BOOL | Sem variável Sysmac mapeada
DIGITAL INPUTS | Input | 99 | Input 99 | LIVRE | BOOL | %W18.03 | in_Dig | in_Dig[99] | Fn02_ReadDiscreteInputs | Factory I/O → PLC | Sensores digitais / BOOL | Sem variável Sysmac mapeada
DIGITAL INPUTS | Input | 100 | Input 100 | LIVRE | BOOL | %W18.04 | in_Dig | in_Dig[100] | Fn02_ReadDiscreteInputs | Factory I/O → PLC | Sensores digitais / BOOL | Sem variável Sysmac mapeada
DIGITAL INPUTS | Input | 101 | Input 101 | LIVRE | BOOL | %W18.05 | in_Dig | in_Dig[101] | Fn02_ReadDiscreteInputs | Factory I/O → PLC | Sensores digitais / BOOL | Sem variável Sysmac mapeada
DIGITAL INPUTS | Input | 102 | Input 102 | LIVRE | BOOL | %W18.06 | in_Dig | in_Dig[102] | Fn02_ReadDiscreteInputs | Factory I/O → PLC | Sensores digitais / BOOL | Sem variável Sysmac mapeada
DIGITAL INPUTS | Input | 103 | Input 103 | LIVRE | BOOL | %W18.07 | in_Dig | in_Dig[103] | Fn02_ReadDiscreteInputs | Factory I/O → PLC | Sensores digitais / BOOL | Sem variável Sysmac mapeada
DIGITAL INPUTS | Input | 104 | Input 104 | LIVRE | BOOL | %W18.08 | in_Dig | in_Dig[104] | Fn02_ReadDiscreteInputs | Factory I/O → PLC | Sensores digitais / BOOL | Sem variável Sysmac mapeada
DIGITAL INPUTS | Input | 105 | Input 105 | LIVRE | BOOL | %W18.09 | in_Dig | in_Dig[105] | Fn02_ReadDiscreteInputs | Factory I/O → PLC | Sensores digitais / BOOL | Sem variável Sysmac mapeada
DIGITAL INPUTS | Input | 106 | Input 106 | LIVRE | BOOL | %W18.10 | in_Dig | in_Dig[106] | Fn02_ReadDiscreteInputs | Factory I/O → PLC | Sensores digitais / BOOL | Sem variável Sysmac mapeada
DIGITAL INPUTS | Input | 107 | Input 107 | LIVRE | BOOL | %W18.11 | in_Dig | in_Dig[107] | Fn02_ReadDiscreteInputs | Factory I/O → PLC | Sensores digitais / BOOL | Sem variável Sysmac mapeada
DIGITAL INPUTS | Input | 108 | Input 108 | LIVRE | BOOL | %W18.12 | in_Dig | in_Dig[108] | Fn02_ReadDiscreteInputs | Factory I/O → PLC | Sensores digitais / BOOL | Sem variável Sysmac mapeada
DIGITAL INPUTS | Input | 109 | Input 109 | LIVRE | BOOL | %W18.13 | in_Dig | in_Dig[109] | Fn02_ReadDiscreteInputs | Factory I/O → PLC | Sensores digitais / BOOL | Sem variável Sysmac mapeada
ANALÓGICOS OUTPUTS | Holding Reg | 0 | Holding Reg 0 | FO_Counter_GreenBases_Display | WORD | %W40 | out_Analog | out_Analog[0] | Fn16_WriteMultipleRegisters | PLC → Factory I/O | Displays/contadores/velocidades/códigos escritos pelo PLC | NOT USED
ANALÓGICOS OUTPUTS | Holding Reg | 1 | Holding Reg 1 | FO_Counter_BlueBases_Display | WORD | %W41 | out_Analog | out_Analog[1] | Fn16_WriteMultipleRegisters | PLC → Factory I/O | Displays/contadores/velocidades/códigos escritos pelo PLC
ANALÓGICOS OUTPUTS | Holding Reg | 2 | Holding Reg 2 | FO_Counter_GreenLids_Display | WORD | %W42 | out_Analog | out_Analog[2] | Fn16_WriteMultipleRegisters | PLC → Factory I/O | Displays/contadores/velocidades/códigos escritos pelo PLC
ANALÓGICOS OUTPUTS | Holding Reg | 3 | Holding Reg 3 | FO_Counter_BlueLids_Display | WORD | %W43 | out_Analog | out_Analog[3] | Fn16_WriteMultipleRegisters | PLC → Factory I/O | Displays/contadores/velocidades/códigos escritos pelo PLC
ANALÓGICOS OUTPUTS | Holding Reg | 4 | Holding Reg 4 | FO_Conveyor_18_Analogic | INT | %W44 | out_Analog | out_Analog[4] | Fn16_WriteMultipleRegisters | PLC → Factory I/O | Displays/contadores/velocidades/códigos escritos pelo PLC
ANALÓGICOS OUTPUTS | Holding Reg | 5 | Holding Reg 5 | FO_Conveyor_19_Analogic | INT | %W45 | out_Analog | out_Analog[5] | Fn16_WriteMultipleRegisters | PLC → Factory I/O | Displays/contadores/velocidades/códigos escritos pelo PLC
ANALÓGICOS OUTPUTS | Holding Reg | 6 | Holding Reg 6 | FO_Conveyor_20_Analogic | INT | %W46 | out_Analog | out_Analog[6] | Fn16_WriteMultipleRegisters | PLC → Factory I/O | Displays/contadores/velocidades/códigos escritos pelo PLC
ANALÓGICOS OUTPUTS | Holding Reg | 7 | Holding Reg 7 | FO_Reserve_1 | WORD | %W47 | out_Analog | out_Analog[7] | Fn16_WriteMultipleRegisters | PLC → Factory I/O | Displays/contadores/velocidades/códigos escritos pelo PLC | AlarmDisplay_Code_GB
ANALÓGICOS OUTPUTS | Holding Reg | 8 | Holding Reg 8 | FO_Reserve_2 | WORD | %W48 | out_Analog | out_Analog[8] | Fn16_WriteMultipleRegisters | PLC → Factory I/O | Displays/contadores/velocidades/códigos escritos pelo PLC | AlarmDisplay_Code_BB
ANALÓGICOS OUTPUTS | Holding Reg | 9 | Holding Reg 9 | FO_Reserve_3 | WORD | %W49 | out_Analog | out_Analog[9] | Fn16_WriteMultipleRegisters | PLC → Factory I/O | Displays/contadores/velocidades/códigos escritos pelo PLC | AlarmDisplay_Code_GL
ANALÓGICOS OUTPUTS | Holding Reg | 10 | Holding Reg 10 | FO_Reserve_4 | WORD | %W50 | out_Analog | out_Analog[10] | Fn16_WriteMultipleRegisters | PLC → Factory I/O | Displays/contadores/velocidades/códigos escritos pelo PLC | AlarmDisplay_Code_BL
ANALÓGICOS OUTPUTS | Holding Reg | 11 | Holding Reg 11 | FO_Reserve_25 | WORD | %W51 | out_Analog | out_Analog[11] | Fn16_WriteMultipleRegisters | PLC → Factory I/O | Displays/contadores/velocidades/códigos escritos pelo PLC | NOT USED
ANALÓGICOS OUTPUTS | Holding Reg | 12 | Holding Reg 12 | FO_Reserve_26 | WORD | %W52 | out_Analog | out_Analog[12] | Fn16_WriteMultipleRegisters | PLC → Factory I/O | Displays/contadores/velocidades/códigos escritos pelo PLC | NOT USED
ANALÓGICOS OUTPUTS | Holding Reg | 13 | Holding Reg 13 | LIVRE | WORD/INT | %W53 | out_Analog | out_Analog[13] | Fn16_WriteMultipleRegisters | PLC → Factory I/O | Displays/contadores/velocidades/códigos escritos pelo PLC | Sem variável Sysmac mapeada
ANALÓGICOS OUTPUTS | Holding Reg | 14 | Holding Reg 14 | LIVRE | WORD/INT | %W54 | out_Analog | out_Analog[14] | Fn16_WriteMultipleRegisters | PLC → Factory I/O | Displays/contadores/velocidades/códigos escritos pelo PLC | Sem variável Sysmac mapeada
ANALÓGICOS OUTPUTS | Holding Reg | 15 | Holding Reg 15 | LIVRE | WORD/INT | %W55 | out_Analog | out_Analog[15] | Fn16_WriteMultipleRegisters | PLC → Factory I/O | Displays/contadores/velocidades/códigos escritos pelo PLC | Sem variável Sysmac mapeada
ANALÓGICOS OUTPUTS | Holding Reg | 16 | Holding Reg 16 | LIVRE | WORD/INT | %W56 | out_Analog | out_Analog[16] | Fn16_WriteMultipleRegisters | PLC → Factory I/O | Displays/contadores/velocidades/códigos escritos pelo PLC | Sem variável Sysmac mapeada
ANALÓGICOS OUTPUTS | Holding Reg | 17 | Holding Reg 17 | LIVRE | WORD/INT | %W57 | out_Analog | out_Analog[17] | Fn16_WriteMultipleRegisters | PLC → Factory I/O | Displays/contadores/velocidades/códigos escritos pelo PLC | Sem variável Sysmac mapeada
ANALÓGICOS OUTPUTS | Holding Reg | 18 | Holding Reg 18 | LIVRE | WORD/INT | %W58 | out_Analog | out_Analog[18] | Fn16_WriteMultipleRegisters | PLC → Factory I/O | Displays/contadores/velocidades/códigos escritos pelo PLC | Sem variável Sysmac mapeada
ANALÓGICOS OUTPUTS | Holding Reg | 19 | Holding Reg 19 | LIVRE | WORD/INT | %W59 | out_Analog | out_Analog[19] | Fn16_WriteMultipleRegisters | PLC → Factory I/O | Displays/contadores/velocidades/códigos escritos pelo PLC | Sem variável Sysmac mapeada
ANALÓGICOS INPUTS | Input Reg | 0 | Input Reg 0 | FO_Selector_Vision_Sensor | WORD | %W60 | in_Analog | in_Analog[0] | Fn04_ReadInputRegisters | Factory I/O → PLC | Vision Sensor / valores numéricos do Factory I/O | NOT USED
ANALÓGICOS INPUTS | Input Reg | 1 | Input Reg 1 | FO_Vision_Sensor_kuka | WORD | %W61 | in_Analog | in_Analog[1] | Fn04_ReadInputRegisters | Factory I/O → PLC | Vision Sensor / valores numéricos do Factory I/O
ANALÓGICOS INPUTS | Input Reg | 2 | Input Reg 2 | FO_Reserve_5 | INT | %W62 | in_Analog | in_Analog[2] | Fn04_ReadInputRegisters | Factory I/O → PLC | Vision Sensor / valores numéricos do Factory I/O | Vision Sensor do Pusher_1
ANALÓGICOS INPUTS | Input Reg | 3 | Input Reg 3 | FO_Reserve_6 | INT | %W63 | in_Analog | in_Analog[3] | Fn04_ReadInputRegisters | Factory I/O → PLC | Vision Sensor / valores numéricos do Factory I/O | Vision Sensor do Pusher_2
ANALÓGICOS INPUTS | Input Reg | 4 | Input Reg 4 | FO_Reserve_7 | INT | %W64 | in_Analog | in_Analog[4] | Fn04_ReadInputRegisters | Factory I/O → PLC | Vision Sensor / valores numéricos do Factory I/O | Vision Sensor do Pusher_3
ANALÓGICOS INPUTS | Input Reg | 5 | Input Reg 5 | FO_Reserve_8 | INT | %W65 | in_Analog | in_Analog[5] | Fn04_ReadInputRegisters | Factory I/O → PLC | Vision Sensor / valores numéricos do Factory I/O | Vision Sensor do Pusher_4
ANALÓGICOS INPUTS | Input Reg | 6 | Input Reg 6 | FO_Reserve_27 | INT | %W66 | in_Analog | in_Analog[6] | Fn04_ReadInputRegisters | Factory I/O → PLC | Vision Sensor / valores numéricos do Factory I/O | NOT USED
ANALÓGICOS INPUTS | Input Reg | 7 | Input Reg 7 | FO_Reserve_28 | INT | %W67 | in_Analog | in_Analog[7] | Fn04_ReadInputRegisters | Factory I/O → PLC | Vision Sensor / valores numéricos do Factory I/O | NOT USED
ANALÓGICOS INPUTS | Input Reg | 8 | Input Reg 8 | LIVRE | WORD/INT | %W68 | in_Analog | in_Analog[8] | Fn04_ReadInputRegisters | Factory I/O → PLC | Vision Sensor / valores numéricos do Factory I/O | Sem variável Sysmac mapeada
ANALÓGICOS INPUTS | Input Reg | 9 | Input Reg 9 | LIVRE | WORD/INT | %W69 | in_Analog | in_Analog[9] | Fn04_ReadInputRegisters | Factory I/O → PLC | Vision Sensor / valores numéricos do Factory I/O | Sem variável Sysmac mapeada
ANALÓGICOS INPUTS | Input Reg | 10 | Input Reg 10 | LIVRE | WORD/INT | %W70 | in_Analog | in_Analog[10] | Fn04_ReadInputRegisters | Factory I/O → PLC | Vision Sensor / valores numéricos do Factory I/O | Sem variável Sysmac mapeada
ANALÓGICOS INPUTS | Input Reg | 11 | Input Reg 11 | LIVRE | WORD/INT | %W71 | in_Analog | in_Analog[11] | Fn04_ReadInputRegisters | Factory I/O → PLC | Vision Sensor / valores numéricos do Factory I/O | Sem variável Sysmac mapeada
ANALÓGICOS INPUTS | Input Reg | 12 | Input Reg 12 | LIVRE | WORD/INT | %W72 | in_Analog | in_Analog[12] | Fn04_ReadInputRegisters | Factory I/O → PLC | Vision Sensor / valores numéricos do Factory I/O | Sem variável Sysmac mapeada
ANALÓGICOS INPUTS | Input Reg | 13 | Input Reg 13 | LIVRE | WORD/INT | %W73 | in_Analog | in_Analog[13] | Fn04_ReadInputRegisters | Factory I/O → PLC | Vision Sensor / valores numéricos do Factory I/O | Sem variável Sysmac mapeada
ANALÓGICOS INPUTS | Input Reg | 14 | Input Reg 14 | LIVRE | WORD/INT | %W74 | in_Analog | in_Analog[14] | Fn04_ReadInputRegisters | Factory I/O → PLC | Vision Sensor / valores numéricos do Factory I/O | Sem variável Sysmac mapeada
ANALÓGICOS INPUTS | Input Reg | 15 | Input Reg 15 | LIVRE | WORD/INT | %W75 | in_Analog | in_Analog[15] | Fn04_ReadInputRegisters | Factory I/O → PLC | Vision Sensor / valores numéricos do Factory I/O | Sem variável Sysmac mapeada
ANALÓGICOS INPUTS | Input Reg | 16 | Input Reg 16 | LIVRE | WORD/INT | %W76 | in_Analog | in_Analog[16] | Fn04_ReadInputRegisters | Factory I/O → PLC | Vision Sensor / valores numéricos do Factory I/O | Sem variável Sysmac mapeada
ANALÓGICOS INPUTS | Input Reg | 17 | Input Reg 17 | LIVRE | WORD/INT | %W77 | in_Analog | in_Analog[17] | Fn04_ReadInputRegisters | Factory I/O → PLC | Vision Sensor / valores numéricos do Factory I/O | Sem variável Sysmac mapeada
ANALÓGICOS INPUTS | Input Reg | 18 | Input Reg 18 | LIVRE | WORD/INT | %W78 | in_Analog | in_Analog[18] | Fn04_ReadInputRegisters | Factory I/O → PLC | Vision Sensor / valores numéricos do Factory I/O | Sem variável Sysmac mapeada
ANALÓGICOS INPUTS | Input Reg | 19 | Input Reg 19 | LIVRE | WORD/INT | %W79 | in_Analog | in_Analog[19] | Fn04_ReadInputRegisters | Factory I/O → PLC | Vision Sensor / valores numéricos do Factory I/O | Sem variável Sysmac mapeada